## MeteoNorm API Cost
Number of Sites | Forecast Update Frequency | Monthly Tokens Required | Optimal Plan Subscription | Monthly Cost (CHF) | Monthly Cost (INR)*
1 Site | Every 15 minutes | 14400 | 2 × Plan S | 160 CHF | ₹19,602
| Every 1 hr 30 minutes | 2400 | 1 × Plan S | 80 CHF | ₹9,801
5 Sites | Every 15 minutes | 72000 | 1 × Plan M | 200 CHF | ₹24,502
| Every 1 hr 30 minutes | 12000 | 2 × Plan S | 160 CHF | ₹19,602
10 Sites | Every 15 minutes | 144000 | 1 × Plan L | 400 CHF | ₹49,004
| Every 1 hr 30 minutes | 24000 | 1 × Plan M | 200 CHF | ₹24,502

## PQM
PQM -01
S.No | Tagname | OPC Address | IP Address
1 | PQM01 ACTIVE POWER B | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_ACTIVE_POWER_B | IP: 172.16.51.1 Port:4840
2 | PQM01 ACTIVE POWER R | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_ACTIVE_POWER_R
3 | PQM01 ACTIVE POWER Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_ACTIVE_POWER_Y
4 | PQM01 CURRENT B | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_CURRENT_B
5 | PQM01 CURRENT R | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_CURRENT_R
6 | PQM01 CURRENT Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_CURRENT_Y
7 | PQM01 EXPORTED ACTIVE ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_EXPORTED_ACTIVE_ENERGY
8 | PQM01 EXPORTED APPARENT ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_EXPORTED_APPARENT_ENERGY
9 | PQM01 FREQUENCY | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_FREQUENCY
10 | PQM01 IMPORTED ACTIVE ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_IMPORTED_ACTIVE_ENERGY
11 | PQM01 POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_POWER_FACTOR
12 | PQM01 REACTIVE ENERGY CAPACITIVE | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_REACTIVE_ENERGY_CAPACITIVE
13 | PQM01 REACTIVE ENERGY INDUCTIVE | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_REACTIVE_ENERGY_INDUCTIVE
14 | PQM01 THD CURRENT B | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_CURRENT_B
15 | PQM01 THD CURRENT R | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_CURRENT_R
16 | PQM01 THD CURRENT Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_CURRENT_Y
17 | PQM01 THD VOLTAGE B | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_VOLTAGE_B
18 | PQM01 THD VOLTAGE R | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_VOLTAGE_R
19 | PQM01 THD VOLTAGE Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_THD_VOLTAGE_Y
20 | PQM01 TOTAL ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_TOTAL_ACTIVE_POWER
21 | PQM01 TOTAL APPARENT POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_TOTAL_APPARENT_POWER
22 | PQM01 TOTAL REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_TOTAL_REACTIVE_POWER
23 | PQM01 VOLTAGE B | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_B
24 | PQM01 VOLTAGE BR | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_BR
25 | PQM01 VOLTAGE R | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_R
26 | PQM01 VOLTAGE RY | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_RY
27 | PQM01 VOLTAGE Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_Y
28 | PQM01 VOLTAGE YB | ns=6;s=Arp.Plc.Eclr/MCR_PQM01_VOLTAGE_YB
PQM -02
S.No | Tagname | OPC Address | IP Address
1 | PQM02 ACTIVE POWER B | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_ACTIVE_POWER_B | IP: 172.16.51.1 Port:4840
2 | PQM02 ACTIVE POWER R | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_ACTIVE_POWER_R
3 | PQM02 ACTIVE POWER Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_ACTIVE_POWER_Y
4 | PQM02 CURRENT B | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_CURRENT_B
5 | PQM02 CURRENT R | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_CURRENT_R
6 | PQM02 CURRENT Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_CURRENT_Y
7 | PQM02 EXPORTED ACTIVE ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_EXPORTED_ACTIVE_ENERGY
8 | PQM02 EXPORTED APPARENT ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_EXPORTED_APPARENT_ENERGY
9 | PQM02 FREQUENCY | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_FREQUENCY
10 | PQM02 IMPORTED ACTIVE ENERGY | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_IMPORTED_ACTIVE_ENERGY
11 | PQM02 POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_POWER_FACTOR
12 | PQM02 REACTIVE ENERGY CAPACITIVE | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_REACTIVE_ENERGY_CAPACITIVE
13 | PQM02 REACTIVE ENERGY INDUCTIVE | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_REACTIVE_ENERGY_INDUCTIVE
14 | PQM02 THD CURRENT B | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_CURRENT_B
15 | PQM02 THD CURRENT R | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_CURRENT_R
16 | PQM02 THD CURRENT Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_CURRENT_Y
17 | PQM02 THD VOLTAGE B | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_VOLTAGE_B
18 | PQM02 THD VOLTAGE R | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_VOLTAGE_R
19 | PQM02 THD VOLTAGE Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_THD_VOLTAGE_Y
20 | PQM02 TOTAL ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_TOTAL_ACTIVE_POWER
21 | PQM02 TOTAL APPARENT POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_TOTAL_APPARENT_POWER
22 | PQM02 TOTAL REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_TOTAL_REACTIVE_POWER
23 | PQM02 VOLTAGE B | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_B
24 | PQM02 VOLTAGE BR | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_BR
25 | PQM02 VOLTAGE R | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_R
26 | PQM02 VOLTAGE RY | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_RY
27 | PQM02 VOLTAGE Y | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_Y
28 | PQM02 VOLTAGE YB | ns=6;s=Arp.Plc.Eclr/MCR_PQM02_VOLTAGE_YB

## WMS
MVPS02
S.No | Tagname | OPC Address | IP Address
1 | MVPS02 AIR TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.AIR_TEMPERATURE | IP: 172.16.51.1 Port:4840
2 | MVPS02 GHI ALBEDO DOWN | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.GHI_ALBEDO_DOWN
3 | MVPS02 GHI ALBEDO UP | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.GHI_ALBEDO_UP
4 | MVPS02 BATTERY VOLTAGE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.BATTERY_VOLTAGE
5 | MVPS02 DIFFUSE W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.DIFFUSE_W
6 | MVPS02 DNI WM2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.DNI_WM2
7 | MVPS02 FRONT SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.FRONT_SOIL_SENSOR_1
8 | MVPS02 FRONT SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.FRONT_SOIL_SENSOR_2
9 | MVPS02 FRONT TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.FRONT_TR_LOSS_SENSOR_1
10 | MVPS02 FRONT TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.FRONT_TR_LOSS_SENSOR_2
11 | MVPS02 GHI W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.GHI_W
12 | MVPS02 GHI WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.GHI_WH
13 | MVPS02 GHI WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.GHI_WH_TOTAL
14 | MVPS02 LOGGER TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.LOGGER_TEMPERATURE
15 | MVPS02 MODULE TEMPERATURE 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.MODULE_TEMPERATURE_1
16 | MVPS02 MODULE TEMPERATURE 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.MODULE_TEMPERATURE_2
17 | MVPS02 MODULE TEMPERATURE 3 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.MODULE_TEMPERATURE_3
18 | MVPS02 POA1 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA1_W
19 | MVPS02 POA1 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA1_WH
20 | MVPS02 POA1 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA1_WH_TOTAL
21 | MVPS02 POA2 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA2_W
22 | MVPS02 POA2 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA2_WH
23 | MVPS02 POA2 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.POA2_WH_TOTAL
24 | MVPS02 REAR SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.REAR_SOIL_SENSOR_1
25 | MVPS02 REAR SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.REAR_SOIL_SENSOR_2
26 | MVPS02 REAR TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.REAR_TR_LOSS_SENSOR_1
27 | MVPS02 REAR TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.REAR_TR_LOSS_SENSOR_2
28 | MVPS02 RELATIVE HUMIDITY | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.RELATIVE_HUMIDITY
29 | MVPS02 WIND DIRECTION | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.WIND_DIRECTION
30 | MVPS02 WIND SPEED | ns=6;s=Arp.Plc.Eclr/MCR_MVPS02_WMS_DATA.WIND_SPEED
MVPS14
S.No | Tagname | OPC Address | IP Address
1 | MVPS14 AIR TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.AIR_TEMPERATURE | IP: 172.16.51.1 Port:4840
2 | MVPS14 GHI ALBEDO DOWN | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.GHI_ALBEDO_DOWN
3 | MVPS14 GHI ALBEDO UP | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.GHI_ALBEDO_UP
4 | MVPS14 BATTERY VOLTAGE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.BATTERY_VOLTAGE
5 | MVPS14 DIFFUSE W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.DIFFUSE_W
6 | MVPS14 DNI WM2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.DNI_WM2
7 | MVPS14 FRONT SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.FRONT_SOIL_SENSOR_1
8 | MVPS14 FRONT SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.FRONT_SOIL_SENSOR_2
9 | MVPS14 FRONT TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.FRONT_TR_LOSS_SENSOR_1
10 | MVPS14 FRONT TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.FRONT_TR_LOSS_SENSOR_2
11 | MVPS14 GHI W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.GHI_W
12 | MVPS14 GHI WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.GHI_WH
13 | MVPS14 GHI WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.GHI_WH_TOTAL
14 | MVPS14 LOGGER TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.LOGGER_TEMPERATURE
15 | MVPS14 MODULE TEMPERATURE 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.MODULE_TEMPERATURE_1
16 | MVPS14 MODULE TEMPERATURE 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.MODULE_TEMPERATURE_2
17 | MVPS14 MODULE TEMPERATURE 3 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.MODULE_TEMPERATURE_3
18 | MVPS14 POA1 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA1_W
19 | MVPS14 POA1 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA1_WH
20 | MVPS14 POA1 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA1_WH_TOTAL
21 | MVPS14 POA2 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA2_W
22 | MVPS14 POA2 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA2_WH
23 | MVPS14 POA2 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.POA2_WH_TOTAL
24 | MVPS14 REAR SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.REAR_SOIL_SENSOR_1
25 | MVPS14 REAR SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.REAR_SOIL_SENSOR_2
26 | MVPS14 REAR TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.REAR_TR_LOSS_SENSOR_1
27 | MVPS14 REAR TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.REAR_TR_LOSS_SENSOR_2
28 | MVPS14 RELATIVE HUMIDITY | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.RELATIVE_HUMIDITY
29 | MVPS14 WIND DIRECTION | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.WIND_DIRECTION
30 | MVPS14 WIND SPEED | ns=6;s=Arp.Plc.Eclr/MCR_MVPS14_WMS_DATA.WIND_SPEED
MVPS22
S.No | Tagname | OPC Address | IP Address
1 | MVPS22 AIR TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.AIR_TEMPERATURE | IP: 172.16.51.1 Port:4840
2 | MVPS22 GHI ALBEDO DOWN | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.GHI_ALBEDO_DOWN
3 | MVPS22 GHI ALBEDO UP | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.GHI_ALBEDO_UP
4 | MVPS22 BATTERY VOLTAGE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.BATTERY_VOLTAGE
5 | MVPS22 DIFFUSE W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.DIFFUSE_W
6 | MVPS22 DNI WM2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.DNI_WM2
7 | MVPS22 FRONT SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.FRONT_SOIL_SENSOR_1
8 | MVPS22 FRONT SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.FRONT_SOIL_SENSOR_2
9 | MVPS22 FRONT TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.FRONT_TR_LOSS_SENSOR_1
10 | MVPS22 FRONT TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.FRONT_TR_LOSS_SENSOR_2
11 | MVPS22 GHI W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.GHI_W
12 | MVPS22 GHI WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.GHI_WH
13 | MVPS22 GHI WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.GHI_WH_TOTAL
14 | MVPS22 LOGGER TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.LOGGER_TEMPERATURE
15 | MVPS22 MODULE TEMPERATURE 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.MODULE_TEMPERATURE_1
16 | MVPS22 MODULE TEMPERATURE 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.MODULE_TEMPERATURE_2
17 | MVPS22 MODULE TEMPERATURE 3 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.MODULE_TEMPERATURE_3
18 | MVPS22 POA1 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA1_W
19 | MVPS22 POA1 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA1_WH
20 | MVPS22 POA1 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA1_WH_TOTAL
21 | MVPS22 POA2 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA2_W
22 | MVPS22 POA2 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA2_WH
23 | MVPS22 POA2 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.POA2_WH_TOTAL
24 | MVPS22 REAR SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.REAR_SOIL_SENSOR_1
25 | MVPS22 REAR SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.REAR_SOIL_SENSOR_2
26 | MVPS22 REAR TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.REAR_TR_LOSS_SENSOR_1
27 | MVPS22 REAR TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.REAR_TR_LOSS_SENSOR_2
28 | MVPS22 RELATIVE HUMIDITY | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.RELATIVE_HUMIDITY
29 | MVPS22 WIND DIRECTION | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.WIND_DIRECTION
30 | MVPS22 WIND SPEED | ns=6;s=Arp.Plc.Eclr/MCR_MVPS22_WMS_DATA.WIND_SPEED
MVPS39
S.No | Tagname | OPC Address | IP Address
1 | MVPS39 AIR TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.AIR_TEMPERATURE | IP: 172.16.51.1 Port:4840
2 | MVPS39 GHI ALBEDO DOWN | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.GHI_ALBEDO_DOWN
3 | MVPS39 GHI ALBEDO UP | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.GHI_ALBEDO_UP
4 | MVPS39 BATTERY VOLTAGE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.BATTERY_VOLTAGE
5 | MVPS39 DIFFUSE W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.DIFFUSE_W
6 | MVPS39 DNI WM2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.DNI_WM2
7 | MVPS39 FRONT SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.FRONT_SOIL_SENSOR_1
8 | MVPS39 FRONT SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.FRONT_SOIL_SENSOR_2
9 | MVPS39 FRONT TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.FRONT_TR_LOSS_SENSOR_1
10 | MVPS39 FRONT TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.FRONT_TR_LOSS_SENSOR_2
11 | MVPS39 GHI W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.GHI_W
12 | MVPS39 GHI WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.GHI_WH
13 | MVPS39 GHI WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.GHI_WH_TOTAL
14 | MVPS39 LOGGER TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.LOGGER_TEMPERATURE
15 | MVPS39 MODULE TEMPERATURE 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.MODULE_TEMPERATURE_1
16 | MVPS39 MODULE TEMPERATURE 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.MODULE_TEMPERATURE_2
17 | MVPS39 MODULE TEMPERATURE 3 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.MODULE_TEMPERATURE_3
18 | MVPS39 POA1 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA1_W
19 | MVPS39 POA1 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA1_WH
20 | MVPS39 POA1 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA1_WH_TOTAL
21 | MVPS39 POA2 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA2_W
22 | MVPS39 POA2 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA2_WH
23 | MVPS39 POA2 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.POA2_WH_TOTAL
24 | MVPS39 REAR SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.REAR_SOIL_SENSOR_1
25 | MVPS39 REAR SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.REAR_SOIL_SENSOR_2
26 | MVPS39 REAR TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.REAR_TR_LOSS_SENSOR_1
27 | MVPS39 REAR TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.REAR_TR_LOSS_SENSOR_2
28 | MVPS39 RELATIVE HUMIDITY | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.RELATIVE_HUMIDITY
29 | MVPS39 WIND DIRECTION | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.WIND_DIRECTION
30 | MVPS39 WIND SPEED | ns=6;s=Arp.Plc.Eclr/MCR_MVPS39_WMS_DATA.WIND_SPEED
MVPS48
S.No | Tagname | OPC Address | IP Address
1 | MVPS48 AIR TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.AIR_TEMPERATURE | IP: 172.16.51.1 Port:4840
2 | MVPS48 GHI ALBEDO DOWN | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.GHI_ALBEDO_DOWN
3 | MVPS48 GHI ALBEDO UP | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.GHI_ALBEDO_UP
4 | MVPS48 BATTERY VOLTAGE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.BATTERY_VOLTAGE
5 | MVPS48 DIFFUSE W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.DIFFUSE_W
6 | MVPS48 DNI WM2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.DNI_WM2
7 | MVPS48 FRONT SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.FRONT_SOIL_SENSOR_1
8 | MVPS48 FRONT SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.FRONT_SOIL_SENSOR_2
9 | MVPS48 FRONT TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.FRONT_TR_LOSS_SENSOR_1
10 | MVPS48 FRONT TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.FRONT_TR_LOSS_SENSOR_2
11 | MVPS48 GHI W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.GHI_W
12 | MVPS48 GHI WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.GHI_WH
13 | MVPS48 GHI WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.GHI_WH_TOTAL
14 | MVPS48 LOGGER TEMPERATURE | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.LOGGER_TEMPERATURE
15 | MVPS48 MODULE TEMPERATURE 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.MODULE_TEMPERATURE_1
16 | MVPS48 MODULE TEMPERATURE 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.MODULE_TEMPERATURE_2
17 | MVPS48 MODULE TEMPERATURE 3 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.MODULE_TEMPERATURE_3
18 | MVPS48 POA1 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA1_W
19 | MVPS48 POA1 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA1_WH
20 | MVPS48 POA1 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA1_WH_TOTAL
21 | MVPS48 POA2 W | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA2_W
22 | MVPS48 POA2 WH | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA2_WH
23 | MVPS48 POA2 WH TOTAL | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.POA2_WH_TOTAL
24 | MVPS48 REAR SOIL SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.REAR_SOIL_SENSOR_1
25 | MVPS48 REAR SOIL SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.REAR_SOIL_SENSOR_2
26 | MVPS48 REAR TR LOSS SENSOR 1 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.REAR_TR_LOSS_SENSOR_1
27 | MVPS48 REAR TR LOSS SENSOR 2 | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.REAR_TR_LOSS_SENSOR_2
28 | MVPS48 RELATIVE HUMIDITY | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.RELATIVE_HUMIDITY
29 | MVPS48 WIND DIRECTION | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.WIND_DIRECTION
30 | MVPS48 WIND SPEED | ns=6;s=Arp.Plc.Eclr/MCR_MVPS48_WMS_DATA.WIND_SPEED

## Sheet2
7004127364 | parshant

## SACU MVPS02
S.No | Tagname | OPC Address | IP Address
1 | MVPS02 SACU ACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.ACTIVE_PV_POWER | IP: 172.16.2.1 Port:4840
2 | MVPS02 SACU REACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.REACTIVE_PV_POWER
3 | MVPS02 SACU PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.PV_ENERGY_YIELD
4 | MVPS02 SACU ACCUMULATED PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.ACCUMULATED_PV_ENERGY_YIELD
5 | MVPS02 SACU DC CURR | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.DC_CURRENT
6 | MVPS02 SACU PV POWER GENERATION | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.PV_POWER_GENERATION
7 | MVPS02 SACU INPUT POWER | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.INPUT_POWER
8 | MVPS02 SACU ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.ACTIVE_POWER
9 | MVPS02 SACU POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.POWER_FACTOR
10 | MVPS02 SACU REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.REACTIVE_POWER
11 | MVPS02 SACU CO2 REDUCTION | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.CO2_REDUCTION
12 | MVPS02 SACU PLANT STATUS 2 | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.PPC_COMMUNICATION_CONNE_STATUS
13 | MVPS02 SACU R PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.R_PHASE_CURRENT
14 | MVPS02 SACU Y PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.Y_PHASE_CURRENT
15 | MVPS02 SACU B PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.B_PHASE_CURRENT
16 | MVPS02 SACU RY VTG | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.RY_VOLTAGE
17 | MVPS02 SACU YB VTG | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.YB_VOLTAGE
18 | MVPS02 SACU BR VTG | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.BR_VOLTAGE
19 | MVPS02 SACU INV EFFICIENCY | ns=6;s=Arp.Plc.Eclr/MVPS02_SACU_DATA.INVERTER_EFFICIENCY

## SACU MVPS14
S.No | Tagname | OPC Address | IP Address
1 | MVPS14 SACU ACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.ACTIVE_PV_POWER | IP: 172.16.14.1 Port:4840
2 | MVPS14 SACU REACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.REACTIVE_PV_POWER
3 | MVPS14 SACU PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.PV_ENERGY_YIELD
4 | MVPS14 SACU ACCUMULATED PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.ACCUMULATED_PV_ENERGY_YIELD
5 | MVPS14 SACU DC CURR | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.DC_CURRENT
6 | MVPS14 SACU PV POWER GENERATION | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.PV_POWER_GENERATION
7 | MVPS14 SACU INPUT POWER | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.INPUT_POWER
8 | MVPS14 SACU ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.ACTIVE_POWER
9 | MVPS14 SACU POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.POWER_FACTOR
10 | MVPS14 SACU REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.REACTIVE_POWER
11 | MVPS14 SACU CO2 REDUCTION | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.CO2_REDUCTION
12 | MVPS14 SACU PLANT STATUS 2 | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.PPC_COMMUNICATION_CONNE_STATUS
13 | MVPS14 SACU R PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.R_PHASE_CURRENT
14 | MVPS14 SACU Y PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.Y_PHASE_CURRENT
15 | MVPS14 SACU B PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.B_PHASE_CURRENT
16 | MVPS14 SACU RY VTG | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.RY_VOLTAGE
17 | MVPS14 SACU YB VTG | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.YB_VOLTAGE
18 | MVPS14 SACU BR VTG | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.BR_VOLTAGE
19 | MVPS14 SACU INV EFFICIENCY | ns=6;s=Arp.Plc.Eclr/MVPS14_SACU_DATA.INVERTER_EFFICIENCY

## SACU MVPS22
S.No | Tagname | OPC Address | IP Address
1 | MVPS22 SACU ACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.ACTIVE_PV_POWER | IP: 172.16.22.1 Port:4840
2 | MVPS22 SACU REACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.REACTIVE_PV_POWER
3 | MVPS22 SACU PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.PV_ENERGY_YIELD
4 | MVPS22 SACU ACCUMULATED PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.ACCUMULATED_PV_ENERGY_YIELD
5 | MVPS22 SACU DC CURR | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.DC_CURRENT
6 | MVPS22 SACU PV POWER GENERATION | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.PV_POWER_GENERATION
7 | MVPS22 SACU INPUT POWER | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.INPUT_POWER
8 | MVPS22 SACU ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.ACTIVE_POWER
9 | MVPS22 SACU POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.POWER_FACTOR
10 | MVPS22 SACU REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.REACTIVE_POWER
11 | MVPS22 SACU CO2 REDUCTION | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.CO2_REDUCTION
12 | MVPS22 SACU PLANT STATUS 2 | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.PPC_COMMUNICATION_CONNE_STATUS
13 | MVPS22 SACU R PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.R_PHASE_CURRENT
14 | MVPS22 SACU Y PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.Y_PHASE_CURRENT
15 | MVPS22 SACU B PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.B_PHASE_CURRENT
16 | MVPS22 SACU RY VTG | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.RY_VOLTAGE
17 | MVPS22 SACU YB VTG | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.YB_VOLTAGE
18 | MVPS22 SACU BR VTG | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.BR_VOLTAGE
19 | MVPS22 SACU INV EFFICIENCY | ns=6;s=Arp.Plc.Eclr/MVPS22_SACU_DATA.INVERTER_EFFICIENCY

## SACU MVPS39
S.No | Tagname | OPC Address | IP Address
1 | MVPS39 SACU ACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.ACTIVE_PV_POWER | IP: 172.16.39.1 Port:4840
2 | MVPS39 SACU REACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.REACTIVE_PV_POWER
3 | MVPS39 SACU PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.PV_ENERGY_YIELD
4 | MVPS39 SACU ACCUMULATED PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.ACCUMULATED_PV_ENERGY_YIELD
5 | MVPS39 SACU DC CURR | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.DC_CURRENT
6 | MVPS39 SACU PV POWER GENERATION | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.PV_POWER_GENERATION
7 | MVPS39 SACU INPUT POWER | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.INPUT_POWER
8 | MVPS39 SACU ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.ACTIVE_POWER
9 | MVPS39 SACU POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.POWER_FACTOR
10 | MVPS39 SACU REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.REACTIVE_POWER
11 | MVPS39 SACU CO2 REDUCTION | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.CO2_REDUCTION
12 | MVPS39 SACU PLANT STATUS 2 | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.PPC_COMMUNICATION_CONNE_STATUS
13 | MVPS39 SACU R PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.R_PHASE_CURRENT
14 | MVPS39 SACU Y PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.Y_PHASE_CURRENT
15 | MVPS39 SACU B PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.B_PHASE_CURRENT
16 | MVPS39 SACU RY VTG | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.RY_VOLTAGE
17 | MVPS39 SACU YB VTG | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.YB_VOLTAGE
18 | MVPS39 SACU BR VTG | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.BR_VOLTAGE
19 | MVPS39 SACU INV EFFICIENCY | ns=6;s=Arp.Plc.Eclr/MVPS39_SACU_DATA.INVERTER_EFFICIENCY

## SACU MVPS48
S.No | Tagname | OPC Address | IP Address
1 | MVPS48 SACU ACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.ACTIVE_PV_POWER | IP: 172.16.48.1 Port:4840
2 | MVPS48 SACU REACTIVE PV PWR | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.REACTIVE_PV_POWER
3 | MVPS48 SACU PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.PV_ENERGY_YIELD
4 | MVPS48 SACU ACCUMULATED PV ENERGY YIELD | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.ACCUMULATED_PV_ENERGY_YIELD
5 | MVPS48 SACU DC CURR | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.DC_CURRENT
6 | MVPS48 SACU PV POWER GENERATION | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.PV_POWER_GENERATION
7 | MVPS48 SACU INPUT POWER | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.INPUT_POWER
8 | MVPS48 SACU ACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.ACTIVE_POWER
9 | MVPS48 SACU POWER FACTOR | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.POWER_FACTOR
10 | MVPS48 SACU REACTIVE POWER | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.REACTIVE_POWER
11 | MVPS48 SACU CO2 REDUCTION | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.CO2_REDUCTION
12 | MVPS48 SACU PLANT STATUS 2 | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.PPC_COMMUNICATION_CONNE_STATUS
13 | MVPS48 SACU R PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.R_PHASE_CURRENT
14 | MVPS48 SACU Y PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.Y_PHASE_CURRENT
15 | MVPS48 SACU B PHASE CURRENT | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.B_PHASE_CURRENT
16 | MVPS48 SACU RY VTG | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.RY_VOLTAGE
17 | MVPS48 SACU YB VTG | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.YB_VOLTAGE
18 | MVPS48 SACU BR VTG | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.BR_VOLTAGE
19 | MVPS48 SACU INV EFFICIENCY | ns=6;s=Arp.Plc.Eclr/MVPS48_SACU_DATA.INVERTER_EFFICIENCY